1	gesis® MICRO - Installation connector system	2

1.1	2-pole - GST08i2	2

1.1.1	Distribution blocks	2

1.1.2	Accessories	3

1.1.3	Cables	4

1.1.3.1	Cable assemblies, 0.75 mm², containing halogen	4

1.2	3-pole - GST08i3	10

1.2.1	Accessories	10

1.2.2	Cables	11

1.2.2.1	Cable assemblies, 0.75 mm², containing halogen	11

# gesis® MICRO - Installation connector system

# 2-pole - GST08i2

## Distribution blocks

gesis® distribution block, 2-pole, 1 input, 2 outputs, 250 V, 2.5 A, white

System gesis® MICRO - Distribution block, h-shaped distribution block, 2-pole, 1 input, 2 outputs, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Input: 1

Outputs: 2

Brand: Wieland Electric GmbH

Type: GST08i2 V 2P WS

Part No.: 99.453.0000.8

## Accessories

gesis® housing installation frame, white

System gesis® MICRO - Housing installation frame for 2-pole female connector, incl. fixation screw, white.

Brand: Wieland Electric GmbH

Type: GST08i2 G

Part No.: 99.450.0000.8

## Cables

### Cable assemblies, 0.75 mm², containing halogen

gesis® extension cable, female, male, 2x 0.75 mm², 250 V, 2.5 A, length: 1.0 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 1.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 10WS

Part No.: 99.403.0000.8

gesis® extension cable, female, male, 2x 0.75 mm², 250 V, 2.5 A, length: 3.0 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 3.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 30WS

Part No.: 99.404.0000.8

gesis® connection cable, female, free end, 2x 0.75 mm², 250 V, 2.5 A, length: 0.5 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², female GST08i2, free end, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 B- 75 T 05WS

Part No.: 99.400.0000.8

gesis® connection cable, male, free end, 2x 0.75 mm², 250 V, 2.5 A, length: 0.5 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, free end, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 -S 75 T 05WS

Part No.: 99.402.0000.8

gesis® connection cable, female, male, 2x 0.75 mm², 250 V, 2.5 A, length: 0.5 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST15i2, female GST08i2, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 BB 75 P 05WS

Part No.: 99.401.0000.8

gesis® cable with 6-fold distribution block, male, 2x 0.75 mm², 250 V, 2.5 A, length: 0.5 m, white

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, 6-fold female GST08i2, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Input: 1

Outputs: 6

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 VS 6P 75 T 05WS

Part No.: 99.405.0000.8

gesis® connection cable, male, free end, 2x 0.75 mm², 250 V, 2.5 A, length: 2,0 m, red

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², for switching applications, female GST08i2, free end, mechanical coding code 2, color coding red.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 2,0 m

Brand: Wieland Electric GmbH

Type: GST08i2 -S 75 T 20RT04

Part No.: 99.407.0000.8

gesis® cable with 6-fold distribution block, male, 2x 0.75 mm², 250 V, 2.5 A, length: 0.5 m, white/red

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², for switching applications, male GST08i2, 5-fold female GST08i2, mechanical coding code 1 each, color coding white, 1x switching input female GST08i2, mechanical coding code 2, color coding red.

Rated voltage: 250 V

Rated current: 2.5 A

Cable type: H03V2V2H2-F

Cable color: white

Input: 1

Outputs: 5

Switching output: 1

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 VS 6S 75 T 05WS

Part No.: 99.406.0000.8

gesis® extension cable, female, male, 2x 0.75 mm², 12 V, 6 A, length: 1.0 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 3, color coding blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 1.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 10BL02

Part No.: 99.411.0000.8

gesis® extension cable, female, male, 2x 0.75 mm², 12 V, 6 A, length: 3.0 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 3, color coding blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 3.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 30BL02

Part No.: 99.412.0000.8

gesis® connection cable, female, free end, 2x 0.75 mm², 12 V, 6 A, length: 0.5 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², female GST08i2, free end, mechanical coding code 3, color coding blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 B- 75 T 05BL02

Part No.: 99.408.0000.8

gesis® connection cable, male, free end, 2x 0.75 mm², 12 V, 6 A, length: 0.5 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, free end, mechanical coding code 3, color coding blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 -S 75 T 05BL02

Part No.: 99.410.0000.8

gesis® connection cable, female, male, 2x 0.75 mm², 12 V, 6 A, length: 0.5 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST15i2, female GST08i2, mechanical coding code 3, color coding blue/light blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 BB 75 P 05WS

Part No.: 99.409.0000.8

gesis® cable with 6-fold distribution block, free end, 2x 0.75 mm², 12 V, 6 A, length: 0.15 m, blue

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², 6-fold female GST08i2, free end, mechanical coding code 3, color coding blue.

Rated voltage: 12 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Input: 1

Outputs: 6

Halogen-free: no

Length: 0.15 m

Brand: Wieland Electric GmbH

Type: GST08i2 VF 6P 75 T 02BL02

Part No.: 99.413.0000.8

gesis® extension cable, female, male, 2x 0.75 mm², 24 V, 6 A, length: 1.0 m, green

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 3, color coding green.

Rated voltage: 24 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 1.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 10GN03

Part No.: 99.417.0000.8

gesis® extension cable, female, male, 2x 0.75 mm², 24 V, 6 A, length: 3.0 m, green

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, female GST08i2, mechanical coding code 3, color coding green.

Rated voltage: 24 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 3.0 m

Brand: Wieland Electric GmbH

Type: GST08i2 BS 75 T 30GN03

Part No.: 99.418.0000.8

gesis® connection cable, female, free end, 2x 0.75 mm², 24 V, 6 A, length: 0.5 m, green

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², female GST08i2, free end, mechanical coding code 3, color coding green.

Rated voltage: 24 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 B- 75 T 05GN03

Part No.: 99.414.0000.8

gesis® connection cable, male, free end, 2x 0.75 mm², 24 V, 6 A, length: 0.5 m, green

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², male GST08i2, free end, mechanical coding code 3, color coding green.

Rated voltage: 24 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i2 -S 75 T 05GN03

Part No.: 99.416.0000.8

gesis® cable with 6-fold distribution block, free end, 2x 0.75 mm², 24 V, 6 A, length: 0.15 m, green

System gesis® MICRO - assembled H03V2V2H2-F extension cable, 2-pole, 0.75 mm², 6-fold female GST08i2, free end, mechanical coding code 3, color coding green.

Rated voltage: 24 V

Rated current: 6 A

Cable type: H03V2V2H2-F

Cable color: white

Input: 1

Outputs: 6

Halogen-free: no

Length: 0.15 m

Brand: Wieland Electric GmbH

Type: GST08i2 VF 6P 75 T 02GN03

Part No.: 99.419.0000.8

# 3-pole - GST08i3

## Accessories

gesis® housing installation frame, white

System gesis® MICRO - Housing installation frame for 3-pole female, incl. fixation screw, white.

Brand: Wieland Electric GmbH

Type: GST08i3 G

Part No.: 99.451.0000.8

## Cables

### Cable assemblies, 0.75 mm², containing halogen

gesis® extension cable, female, male, 3x 0.75 mm², 250 V, 6 A, length: 1.0 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², male GST08i3, female GST08i3, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 6 A

Cable type: H03VV-F

Cable color: white

Halogen-free: no

Length: 1.0 m

Brand: Wieland Electric GmbH

Type: GST08i3 BS 75 T 10WS

Part No.: 99.423.0000.8

gesis® extension cable, female, male, 3x 0.75 mm², 250 V, 6 A, length: 3.0 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², male GST08i3, female GST08i3, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 6 A

Cable type: H03VV-F

Cable color: white

Halogen-free: no

Length: 3.0 m

Brand: Wieland Electric GmbH

Type: GST08i3 BS 75 T 30WS

Part No.: 99.424.0000.8

gesis® connection cable, female, free end, 3x 0.75 mm², 250 V, 6 A, length: 0.5 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², female GST08i3, free end, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 6 A

Cable type: H03VV-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i3 B- 75 T 05WS

Part No.: 99.420.0000.8

gesis® connection cable, male, free end, 3x 0.75 mm², 250 V, 6 A, length: 0.5 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², male GST08i3, free end, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 6 A

Cable type: H03VV-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i3 -S 75 T 05WS

Part No.: 99.422.0000.8

gesis® connection cable, female, male, 3x 0.75 mm², 250 V, 6 A, length: 0.5 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², male GST15i3, female GST08i3, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current:6 A

Cable type: H03VV-F

Cable color: white

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i3 BB 75 P 05WS

Part No.: 99.421.0000.8

gesis® cable with 6-fold distribution block, male, 3x 0.75 mm², 250 V, 6 A, length: 0.5 m, white

System gesis® MICRO - assembled H03VV-F extension cable with protective ground, 3-pole, 0.75 mm², male GST08i3, 6-fold female GST08i3, mechanical coding code 1, color coding white.

Rated voltage: 250 V

Rated current: 6 A

Cable type: H03VV-F

Cable color: white

Input: 1

Outputs: 6

Halogen-free: no

Length: 0.5 m

Brand: Wieland Electric GmbH

Type: GST08i3 VS 6P 75 P 05WS

Part No.: 99.425.0000.8

99.400.0000.8	4

99.401.0000.8	5

99.402.0000.8	5

99.403.0000.8	4

99.404.0000.8	4

99.405.0000.8	5

99.406.0000.8	6

99.407.0000.8	5

99.408.0000.8	7

99.409.0000.8	7

99.410.0000.8	7

99.411.0000.8	6

99.412.0000.8	6

99.413.0000.8	8

99.414.0000.8	8

99.416.0000.8	9

99.417.0000.8	8

99.418.0000.8	8

99.419.0000.8	9

99.420.0000.8	11

99.421.0000.8	12

99.422.0000.8	12

99.423.0000.8	11

99.424.0000.8	11

99.425.0000.8	12

99.450.0000.8	3

99.451.0000.8	10

99.453.0000.8	2